## Gas Cylinders
|  | PENNAR INDUSTRIES LIMITED HAZARD IDENTIFICATION & RISK ASSESSMENT (HIRA) | [5 empty] | Plant Location: Patancheru |  | Division: CS |  | Department: Store
Document No.: PIL/IMS/ISP/CS/Gascylinders/HIRA/01 |  |  | Issue No. 01 |  |  | Issue Date: 21.05.15 | Revision No.: 04 |  |  | Revision Date: - 11.12.2024 |  | ISO 45001 Clause No.: 6.1.2
JOB TITLE:- STORES | [5 empty] | Recommended Personal Protective Equipment (PPE):- Safety Helmet,safety shoes,hand gloves
S.No. | ACTIVITY | HAZARD | RISK | ROUTINE/NON-ROUTINE | LEGAL/NON-LEGAL | EXISTING CONTROLS | RISK ASSESSMENT AFTER EXISTING CONTROLS |  |  |  | ADDITIONAL CONTROLS | RISK AFTER ADDITIONAL CONTROLS
[7 empty] | PROBABILITY | SEVERITY | RISK VALUE | RISK RATING |  | PROBABILITY | SEVERITY | RISK VALUE | RISK LEVEL
1 | Handling Compressed Air Cylinders | Overpressure, Cylinder rupture | Explosion, injury from flying debris | Routine | Legal | Proper pressure regulation, secure storage, visual inspections | 2 | 2 | 4 | B
2 | Handling Oxygen (O₂) Cylinders | Fire, combustion enhancement | Increased fire/explosion risk | Routine | Legal | No oil/grease near oxygen equipment, separate storage from fuel gases | 3 | 4 | 12 | A
3 | Handling Carbon Dioxide (CO₂) Cylinders | Asphyxiation, frostbite from leaks | Oxygen displacement, suffocation risk | Routine | Non-Legal | Ensure proper ventilation, use CO₂ detectors | 3 | 3 | 9 | A
4 | Handling Argon (Ar) Cylinders | Oxygen displacement | Suffocation risk in confined spaces | Routine | Non-Legal | Store in ventilated areas, secured storage | 3 | 3 | 9 | A
5 | Handling Liquefied Petroleum Gas (LPG) | Flammability, explosion | Fire hazard, asphyxiation risk | Routine | Legal | Leak detectors, proper ventilation, fire safety measures | 4 | 4 | 16 | A
Note:- Severity :- Minor - 1, Moderate - 2, Major - 3., Probability - Almost certain - 3, Likely - 2, Rare - 1. Risk Value:- Probability x Severity. Risk Rating:- Risk Value 1&2=A(Acceptable// Risk value 3&4=M (Moderate) // Risk value 6=S (Substantial) // Risk value 9=I(Intolerable) | [6 empty] | PREPARED DEPT.IN CHARGE WORKMEN SAFETY IN-CHARGE |  |  |  |  | APPROVED (DEPARTMENT HEAD)
Form No.:PIL/IMS/HIRA/F-01/Rev.01